## Sheet1
Connector under test	Test / Current (A)	mV drop across / Connector	Power lost / In connector (W)	Hottest observed / Temperature ©
75 Amp Anderson	52.5	5	0.2625
120 Amp Anderson	52.5	4	0.21
75 Amp Anderson	105	11	1.155	Ambient+17
120 Amp Anderson	105	7	0.735

Conclusions: 75 Amp Anderson is sufficient for LiBCM.
PP75 contact is rated for 120 amps continuous at 25 degC ampbient, in single-pole configuration (as used in LiBCM)
While LiBCM can briefly exceed 120 amps, that isn’t enough time for the connector to overheat.